A/E REVIEW CHECKLIST

PLUMBING/FIRE PROTECTION/SANITARY

(Reviewers should - Use Checklists when reviewing any type of VA construction project for the following disciplines: 
(  Site and Landscape, 
(  Architectural, 
(  Structural, 
(  Plumbing, Fire Protection, and 
        Sanitary, 
(  Heating, Ventilating, and Air 
        Conditioning (HVAC), 
(  Steam Generation,
(  Steam Distribution,
(  Incineration/Solid Waste, and
(  Electrical.

(Reviewers should - Insure that A/E Submission Instructions 
(PG-18-15) for Schematic, Design Development, and Construction Documents are followed for various types of VA construction projects.

(Reviewers should - Insure that every VA construction project is in compliance with all life safety issues.

(Reviewers should - Be aware that these checklists are not all-inclusive but only provide minimum review items.

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| GENERAL INFORMATION FOR REVIEWERS |
| --- |
| PLUMBING/FIRE PROTECTION/SANITARY REVIEWS |
| The reviewer should be thoroughly familiar with the following VA standards before conducting a design review. These are available on Internet/Intranet: http://www.va.gov/facmgt/standard/va_gov.htm http://vaww.va.gov/facmgt/standard/va_gov.htm |
| 1. | DESIGN MANUALS (PG-18-10) |
| 2. | MASTER CONSTRUCTION SPECIFICATIONS (PG-18-1) |
| 3. | STANDARD DETAILS (PG-18-4) (Available in AutoCADD 2000 Format) |
| 4. | DESIGN AND CONSTRUCTION PROCEDURES (formerly Construction Standards) (H-18-3) (Policies defining the minimum level of excellence in the design of VA facilities) |
| 5. | DESIGN GUIDES (PG-18-12) (Graphic information on specific programs in the design development of VA facilities) |
| 6. | DESIGN ALERTS (These alerts are issued on a regular basis for design and construction related issues) |
| 7. | A/E QUALITY ALERTS (These alerts are issued to guard against common and repeat design errors) |
| 8. | A/E SUBMISSION INSTRUCTIONS, PROGRAM GUIDE, PG-18-15 |
| 9. | TECHNICAL SUMMARIES (The summaries of HVAC design requirements for special and critical areas) |
| 10. | NATIONAL CAD STANDARD |
| 11. | VA NATIONAL CAD STANDARD APPLICATION GUIDE |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| SCHEMATIC 1 |
| --- |
| PLUMBING REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions below. |  |
| 2 | Is non-structural seismic, hurricane, or major flood protection necessary? |  |
| 3 | Coordinate drawings with other disciplines |  |

| SCHEMATIC 1 |
| --- |
| FIRE PROTECTION REVIEW (Related to Plumbing/Sanitary Engineering) |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
|  | No requirements. |  |

| SCHEMATIC 1 |
| --- |
| SANITARY REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions below. |  |
| 2 | Is seismic, hurricane, or major flood protection necessary? |  |
| 3 | Coordinate drawings with other disciplines |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| SCHEMATIC 2 |
| --- |
| PLUMBING REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions below. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures? |  |
| 4 | Have correct plumbing fixtures been located where required? |  |
| 5 | Coordinate drawings with other disciplines |  |

| SCHEMATIC 2 |
| --- |
| FIRE PROTECTION REVIEW (Related to Plumbing/Sanitary Engineering) |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions below. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures and Design Manuals? |  |
| 4 | Coordinate drawings with other disciplines |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| SCHEMATIC 2 |
| --- |
| SANITARY REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions below. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures & Design Manuals? |  |
| 4 | Is seismic, hurricane, or major flood protection necessary? |  |
| 5 | Coordinate drawings with other disciplines |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| DESIGN DEVELOPMENT 1 |
| --- |
| PLUMBING REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions at bottom of page 3. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures? |  |
| 4 | Have correct plumbing fixtures been located where required? |  |
| 5 | Coordinate drawings with other disciplines |  |

| DESIGN DEVELOPMENT 1 |
| --- |
| FIRE PROTECTION REVIEW (Related to Plumbing/Sanitary Engineering) |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions below. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures and Design Manuals? |  |
| 4 | Coordinate drawings with other disciplines |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| DESIGN DEVELOPMENT 1 |
| --- |
| SANITARY REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions at bottom of this sheet. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures & Design Manuals? |  |
| 4 | Coordinate drawings with other disciplines |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| DESIGN DEVELOPMENT 2 |
| --- |
| PLUMBING REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions at bottom of page 2. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures? |  |
| 4 | Have design calculations been submitted for the following equipment: |  |
|  | a. Medical air compressors & receivers |  |
|  | b. Laboratory air compressors & receivers |  |
|  | c. Dental air compressors & receivers |  |
|  | d. Vacuum pumps & receivers |  |
|  | e. Hot water heaters, accumulator, & circulating pump |  |
|  | f. Fire, sump, & jockey pumps |  |
|  | g. Water treatment equipment |  |
| 5 | Have piping and fixture locations been coordinated with architectural and structural drawings? |  |
| 6 | Have adequate number of isolation shut-off valves been provided for the following piping systems? |  |
|  | a. Water |  |
|  | b. Fuel Gas |  |
|  | c. Medical Gases |  |
| 7 | Are emergency eye wash/showers provided where chemicals and other hazardous materials are handled? |  |
| 8 | Have room names and numbers been provided for floor plans? |  |
| 9 | Coordinate drawings with other disciplines |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| DESIGN DEVELOPMENT 2 |
| --- |
| FIRE PROTECTION REVIEW (Related to Plumbing/Sanitary Engineering) |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions below. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures and Design Manuals? |  |
| 4 | Have smoke and fire partitions been indicated on drawings? |  |
| 5 | Are shut-off valves and drains provided at base of fire standpipes? |  |
| 6 | Have calculations been provided for fire supply lines and fire standpipes? |  |
| 7 | Coordinate drawings with other disciplines |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| DESIGN DEVELOPMENT 2 |
| --- |
| SANITARY REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions below. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures & Design Manuals? |  |
| 4 | Have design calculations been submitted for the following systems: |  |
|  | a. Sanitary sewerage |  |
|  | b. Storm Drainage |  |
|  | c. Water |  |
|  | d. Irrigation |  |
|  | e. Fuel Gas |  |
|  | f. Water treatment |  |
|  | g. Sewage treatment |  |
|  | h. Water storage |  |
|  | i. Cathodic protection |  |
| 5 | Are sanitary drawings coordinated with plumbing, electrical site, steam site, and landscape drawings? |  |
| 6 | Coordinate drawings with other disciplines |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| CONSTRUCTION DOCUMENTS 1 |
| --- |
| PLUMBING REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions at bottom of page 3. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures? |  |
| 4 | Have design calculations been submitted for the following systems: |  |
|  | a. Soil, waste, & vent |  |
|  | b. Roof drainage |  |
|  | c. Domestic cold water |  |
|  | d. Domestic hot water & return |  |
|  | e. Hot water generation |  |
|  | f. Reagent grade water |  |
|  | g. Fuel gas |  |
|  | h. Oxygen |  |
|  | i. Vacuum |  |
|  | j. Medical air |  |
|  | k. Nitrous Oxide |  |
|  | l. Nitrogen |  |
|  | m. Laboratory air |  |
|  | n. Laboratory vacuum |  |
|  | o. Dental air |  |
|  | p. Oral Evacuation |  |
|  | q. Shop air |  |
|  | r. Therapeutic pool |  |
| 5 | Do drawings indicate locations, sizes, & capacities of: |  |
|  | a. Medical air compressors & receivers |  |
|  | b. Laboratory air compressors & receivers |  |
|  | c. Dental air compressors & receivers |  |
|  | d. Vacuum pumps & receivers |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| CONSTRUCTION DOCUMENTS 1 |
| --- |
| PLUMBING REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 5 (cont.) | e. Hot water heaters, accumulator, & circulating pump |  |
|  | f. Fire, sump, & jockey pumps |  |
|  | g. Water treatment equipment |  |
| 6 | Do plumbing fixture numbers agree with those provided in contract specifications? |  |
| 7 | Have correct plumbing fixtures been located where required? |  |
| 8 | Has adequate wall space been provided for piping to serve wall-hung fixtures and back-to-back fixtures? |  |
| 9 | Has location, size, and invert or centerline elevations of sanitary and storm sewers, water and fuel gas lines been coordinated with civil/sanitary engineer? |  |
| 10 | Do "P" numbers provided for plumbing fixtures on drawings match those indicated in specifications? |  |
| 11 | Have piping and fixture locations been coordinated with architectural and structural drawings? |  |
| 12 | Has freeze protection been considered for water piping? |  |
| 13 | Are floor drains correctly located and sized? |  |
| 14 | Are roof drains correctly located and sized? |  |
| 15 | Has location and number of cylinders of nitrous oxide manifold been indicated? |  |
| 16 | Has location and number of cylinders of inside oxygen manifold been indicated? |  |
| 17 | Has exterior oxygen storage pad been indicated? |  |
| 18 | Has location of medical gas alarm panels been shown? |  |
| 19 | Have pressure failure switches for oxygen, nitrous oxide, vacuum, and compressed air systems been indicated and coordinated with electrical? |  |
| 20 | Are fuel oil tanks for emergency generators provided? |  |
| 21 | Have balancing valves been provided in the domestic hot water system? |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| CONSTRUCTION DOCUMENTS 1 |
| --- |
| PLUMBING REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 22 | Are emergency eye wash/showers provided where chemicals and other hazardous materials are handled? |  |
| 23 | Have room names and numbers been provided for floor plans? |  |
| 24 | Have floor numbers, floor heights, and plumbing fixture numbers been shown on all riser diagrams? |  |
| 25 | Have adequate number of isolation shut-off valves been provided for the following piping systems? |  |
|  | a. Water |  |
|  | b. Fuel Gas |  |
|  | c. Medical Gases |  |
| 26 | Are water heaters that serve patients and staff protected with temperature relief valves to limit discharge to 130 degrees F? |  |
| 27 | Have backflow prevention valves been installed in potable and non-potable water distribution systems |  |
| 28 | Are acid waste and vent piping and neutralization/dilution tanks necessary? |  |
| 29 | Are all plumbing items provided in specifications? |  |
| 30 | Has type, speed, horsepower, and capacity of pumps and compressors been provided on drawings? |  |
| 31 | Have necessary details been provided? |  |
| 32 | Have riser diagrams been provided for the following systems? |  |
|  | a. Soil, waste , & vent |  |
|  | b. Cold water |  |
|  | c. Hot water & return |  |
|  | d. Reagent grade water |  |
|  | e. Oxygen |  |
|  | f. Medical air |  |
|  | g. Vacuum |  |
|  | h. Dental air |  |
|  | i. Oral evacuation |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| CONSTRUCTION DOCUMENTS 1 |
| --- |
| PLUMBING REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 32 (cont.) | j. Shop air |  |
|  | k. Fuel gas |  |
|  | l. Nitrous oxide |  |
|  | m. Nitrogen |  |
|  | n. Roof drainage |  |
| 33 | Coordinate drawings with other disciplines |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| CONSTRUCTION DOCUMENTS 1 |
| --- |
| FIRE PROTECTION REVIEW (Related to Plumbing/Sanitary Engineering) |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions below. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures and Design Manuals? |  |
| 4 | Have smoke and fire partitions been indicated on drawings? |  |
| 5 | Have fire densities been indicated on drawings |  |
| 6 | Have fire supply lines and fire standpipes been indicated? |  |
| 7 | Are shut-off valves and drains provided at base of fire standpipes? |  |
| 8 | Are all fire protection items provided in specifications? |  |
| 9 | Coordinate drawings with other disciplines |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| CONSTRUCTION DOCUMENTS 1 |
| --- |
| SANITARY REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? If not, list omissions at bottom of this sheet. |  |
| 2 | Were previous VA comments satisfied? |  |
| 3 | Have drawings been prepared in compliance with VA Design & Construction Procedures & Design Manuals? |  |
| 4 | Have design calculations been submitted for the following systems: |  |
|  | a. Sanitary sewerage |  |
|  | b. Storm Drainage |  |
|  | c. Water |  |
|  | d. Irrigation |  |
|  | e. Fuel Gas |  |
|  | f. Water treatment |  |
|  | g. Sewage treatment |  |
|  | h. Water storage |  |
|  | i. Cathodic protection |  |
| 5 | Are sanitary drawings coordinated with plumbing, electrical site, steam site, and landscape drawings? |  |
| 6 | Coordinate drawings with other disciplines |  |