6. ENGINEERING SYSTEMS REQUIREMENTS

C10 INTERIOR CONSTRUCTION

********************************************************************************************************** 
SYSTEMS REQUIREMENTS
INTERIOR CONSTRUCTION TEMPLATE 02/18

Instructions for using this template: There are template files for each UNIFORMAT Level 2 Group Elements. This template is for Group Element C10-INTERIOR CONSTRUCTION. Text such as this is hidden text that will not print when the hidden text box in "Print/Options" is unchecked.

The Architectural Team Member must edit this template for the requirements of the project. The SYSTEMS REQUIREMENTS are intended to define items that are required throughout the facility or on a system wide basis that is common to several rooms. Room-specific requirements are defined in the Part 3 Chapter 5 ROOM REQUIREMENTS section. Coordinate with the lead programmer for ROOM REQUIREMENTS. Editing is required where brackets [ ] appear. Delete all building elements that are not required for the project. If additional elements or sub-elements are required for the project that do not appear in the template, refer to the NIST UNIFORMAT II publication for additional building element numbers and descriptions. The Uniformat II Work Breakdown Structure can be found at www.wbdg.org/ndbm/ . Coordinate with the PERFORMANCE TECHNICAL SPECIFICATION SECTION C10 to ensure that performance requirements are provided for all of the Building Elements listed here and that paragraph numbering matches.
**********************************************************************************************************

********************************************************************************************************** 
NOTE: Consider each interior construction component relative to Part 2 Section 01 33 29.05 20 Sustainability Reporting for Design-Build and UFC 1-200-02 High Performance and Sustainable Building Requirements.
**********************************************************************************************************

SYSTEM DESCRIPTION
********************************************************************************************************** 
NOTE:    Edit the following paragraph based on the project specific information received from the User.
**********************************************************************************************************

Interior construction includes interior partitions, interior doors, and fittings.

********************************************************************************************************** 
NOTE:    This is a general paragraph, provide detailed information under Chapter 2, "Project Objectives" or Chapter 5, "Room Requirements."
**********************************************************************************************************

Provide durable construction appropriate for the building function.    Acoustic properties of materials, as well as durability, must be considered during material selection.

GENERAL SYSTEM REQUIREMENTS
Areas of the Project subject to abuse require that "impact resistant" systems be provided.    See "Room Requirements" for specific requirements on "Partitions", "Interior Doors", and "Fittings".

C1010 PARTITIONS

********************************************************************************************************** 
NOTE:    Consider one of the following sentences, or create your own, to describe the interior partitions of the facility.    The first two sentences would be applicable to a barracks, or industrial facility, where extreme durability is required.    The third sentence would apply to an administrative office building.    The fourth sentence would apply to housing or a small facility under 5000 square feet.
**********************************************************************************************************

All interior partitions must be either concrete masonry, cast-in-place concrete, precast concrete, or metal studs with gypsum board each side.

[Refer to Part 3 Section 5.0, Room Requirements for partition requirements for individual rooms.    Where rooms with different partition requirements adjoin one another, provide a combined wall type that meets the security and durability as well as finish requirements of both spaces.]

C101001 FIXED PARTITIONS

Provide fixed interior partitions        that extend from finished floor to underside of structure above, except where floor to ceiling demountable or retractable partitions are specifically required by the "Room Requirements." Sound-rated partition assemblies must have a minimum Sound Transmission Coefficient (STC) of 45 in accordance with          American Society for Testing and Materials (ASTM) E 90 or ASTM E 413 for frequency data.

C101002 DEMOUNTABLE PARTITIONS

Provide wire mesh demountable partitions.    Extend wire mesh partitions meant for security purposes to the structural ceiling, or provide a wire mesh ceiling.

Visually separate Inventory units to maximum a height (ten feet) to enable the infrared Intrusion Detection System to operate. Use 22 gauge brite galvanized corrugated sheet metal for this purpose.

C1020 INTERIOR DOORS

********************************************************************************************************** 
NOTE:    Consider one of the following sentences, or create your own, to describe the interior doors of the facility.    The first sentence applies to industrial facilities, where extreme durability is required.    The second sentence applies to most other facilities.    The third sentence applies to housing.    Use the fourth sentence if the "Room Requirements" are very detailed as to the door requirements.
**********************************************************************************************************

C102001 STANDARD INTERIOR DOORS

[Refer to Part 3 Section 5.0, Room Requirements for door requirements for individual rooms.    Where rooms with different door requirements are connected by a door, provide a door type that meets the security and durability as well as finish requirements of both spaces.]

All interior doors and frames must be hollow metal.

********************************************************************************************************** 
NOTE:    Fill in the necessary door assembly STC rating below.    Indicate on the RFP Part 5, Room Requirements where the following sound control doors are located.

Choose the bracketed paragraph below for doors that need sound control but do not need to be sound rated.
**********************************************************************************************************

[Provide [____] STC sound rated door and standard hollow metal door frame with continuous sound/ weather seals around the door to create a sound control door.    Provide sound/ weather seals at the top and both sides that are integral with the door frame and drop down door bottom sound/ weather seals must rest on a metal threshold.    After installation, test the doors with a flashlight to determine if any gaps in the sound seals allow light to be viewed on the opposite side of the door.]

C102002 GLAZED INTERIOR DOORS

Provide vision glazing in doors where it is required by the “Room Requirements” portion of this RFP, or it is deemed advantageous to be able to see through the door, either for safety of pedestrian traffic, or other functional reason.

C102007 INTERIOR DOOR HARDWARE

[Provide special door hardware, such as [combination locks] [card key system] at [_________].

[Provide card key type access units for specialized entries.    Provide lithium battery powered, magnetic stripe keycard locksets that are [American National Standards Institute/Builders Hardware Manufacturers Association (ANSI/BHMA) A156.13, Series 1000, Grade 1, mortise] [American National Standards Institute/Builders Hardware Manufacturers Association (ANSI/BHMA) A156.2, Series 4000, Grade 1, cylindrical locks, tamper resistant, Underwriters Laboratories (UL) listed with 1 inch (25 mm) throw deadbolt, 3/4-inch (19 mm ) throw latch bolt, auxiliary dead-locking latch, and 2-3/4 inch (68.75 mm) backset.]]

[Existing locks were manufactured by [_____] and [do not] have interchangeable cores.] [Provide lock cores compatible with the BEST system.]

Provide [chrome-plated brass or bronze, or stainless steel] [brass or bronze] door hardware finish.

C1030 SPECIALTIES

C103001 COMPARTMENTS, CUBICLES, & TOILET PARTITIONS

Provide stainless steel or solid plastic toilet partitions in all toilet rooms with more than one water closet or urinal.    Provide toilet accessories as indicated in Chapter 3, "Room Requirements" portion of this RFP.

C103002 TOILET AND BATH ACCESSORIES

Provide toilet and bath accessories.

C103003 MARKER BOARDS AND TACK BOARDS

Provide one 4' x 6' marker boards and one 4' x 6' tack boards in the office space.    Marker boards and tack boards are funded as part of the construction contract.

C103004 IDENTIFYING DEVICES

Provide interior room identification signs on each entrance to each interior room.    Provide signage to identify each space by room number and name.    Signage for general office areas must have changeable room name sections to accommodate personnel and functional changes.

Incorporate all necessary interior signage as part of the architectural drawings.    Interior signage is not collateral equipment. Interior signage must demonstrate complete coordination with the facility design,          Structural Interior Design (SID) and FF&E submittals.    Provide interior directional signage as required for facility wayfinding.    Provide an identifying device at each interior door.    Signs must meet Architectural Barriers Act (ABA) Standards requirements.    Refer to Unified Facilities (UFC) 3-120-01, Design: Sign Standards, for more information.

C103005 LOCKERS

Provide lockers with concrete bases.    Lockers shall be metal construction and enamel finish [or] high density polyethylene/solid plastic.    Lockers are funded as part of the construction contract.

C103006 SHELVING

Provide steel utility shelving.    Built-in fixed shelving is funded as part of the construction contract.

C103007 FIRE EXTINGUISHER CABINETS

Provide fire extinguisher cabinets.

C103008 COUNTERS

Provide solid plastic counter tops and back splashes.

C103009 CABINETS

Provide cabinetry and millwork items with associated accessories.    Cabinetry must be          Architectural Woodwork Institute (AWI) custom grade and have concealed hinges with adjustable standards for shelves.    All exposed surfaces must be covered with high pressure plastic laminate clad.

Provide specific cabinetry and storage as noted in Part 3, Chapter 5 Room Requirements.

C103012 FIRESTOPPING PENETRATIONS

Provide all sleeves, ducts and other penetrations through fire-rated partitions with firestopping material.

C103013 SPRAYED FIRE-RESISTIVE MATERIALS

[Provide sprayed fire-resistive materials to the building's structural framing components as required by Building Code to prevent structural failure.]

C103014 ENTRANCE FLOOR GRILLES AND MATS

Provide recessed pan floor mats at main building entrances.

C103015 ORNAMENTAL METAL WORK

Provide ornamental metalwork of stainless steel angles to protect columns, walls, and outside corners of the cages where there is cart traffic.

-- End of Section --