| ENTRY CANOPY |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Entry Canopy Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: 11’-4” Acoustics: Access: Exterior Number of Occupants: 0 Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| B201009 | Exterior Painting |  |  |  |
| F101090 | Column Supported Canopy |  |  |  |

| VESTIBULE |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Vestibule Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: 11’-4” Acoustics: Access: Vestibule Number of Occupants: Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| B203002 | Half Glass Insulated Hollow Metal Exterior Door |  |  |  |
| C101001 | Fixed Partitions |  |  |  |
| C102001 | Standard Interior Doors |  |  |  |
| C102007 | Interior Door Hardware |  |  |  |
| C103014 | Recessed entry grille |  |  |  |
| C302010 | Hardeners and Sealers |  |  |  |
| [C303090] | [Concrete Ceiling Finish] |  |  | [See C304002] |
| [C304002] | [Concrete Wall Finish] |  |  |  |
| [C304003] | [Concrete Masonry Finish] |  |  |  |
| [C304007] | [Special Coatings] |  |  |  |
| E101005 | G5 Security Vault Door with Day Gate |  |  |  |

| COVERED CLEANING AREA |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Covered Cleaning Area Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: Acoustics: Access: Exterior Number of Occupants: Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| [B201009] | [Painted Metal Ceiling] |  |  |  |
| C302010 | Hardeners and Sealers |  |  |  |
| D201006 | Drinking fountain |  |  |  |
| D201090 | Emergency Shower and Eyewash |  |  |  |
| D209005 | Air Compressors |  | Size accord to facility | Use outdoor type compressors |
| E109090 | Fixed Weapons Cleaning Tables |  |  | Weapons cleaning at 10 GSF per person (see the P-80) – approximately six (6) LF per person for weapons cleaning (Shown here, cleaning for one platoon (38 people) at one time) Minimum [40 inches] wide by 36 inches height |
| E109090 | Steam Cleaner |  |  | Electric and water connections |
| E109090 | Portable Solvent Cleaner |  |  | Electrical connection |
| E109090 | Weapons Clearing Discharge Canister |  |  |  |
| F101090 | Column Supported Canopy |  |  |  |

| CORRIDOR |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Corridor Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: 11’-4” Acoustics: Access: Vestibule Number of Occupants: Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| C101001 | Fixed Partitions |  |  |  |
| C102001 | Standard Interior Doors |  |  |  |
| C102007 | Interior Door Hardware |  |  |  |
| C103007 | Fire extinguisher cabinet |  |  |  |
| C302010 | Hardeners and Sealers |  |  |  |
| [C303090] | [Concrete Ceiling Finish] |  |  | [See C304002] |
| [C304002] | [Concrete Wall Finish] |  |  |  |
| [C304003] | [Concrete Masonry Finish] |  |  |  |
| [C304007] | [Special Coatings] |  |  |  |
| E202003 | Metal Desk |  |  | 30 x 60 desk for door guard with writing shelf for signing in |

| WEAPONS REPAIR AND MAINTENANCE WORKSHOPS |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Weapons Repair and Maintenance Workshops Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: 11’-4” Acoustics: Access: Corridor Number of Occupants: Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| C101001 | Fixed Partitions |  |  |  |
| C102001 | Standard Interior Doors |  |  |  |
| C102007 | Interior Door Hardware |  |  |  |
| C103008 | Solid Surface Countertop with Backsplash |  |  |  |
| C103009 | Laminate Surface Base Cabinet |  |  |  |
| C103009 | Laminate Surface Wall Cabinets |  |  |  |
| C302010 | Hardeners and Sealers |  |  |  |
| [C303090] | [Concrete Ceiling Finish] |  |  | [See C304002] |
| [C304002] | [Concrete Wall Finish] |  |  |  |
| [C304003] | [Concrete Masonry Finish] |  |  |  |
| [C304007] | [Special Coatings] |  |  |  |
| D201004 | Stainless Steel Single Bowl |  |  |  |
| D201090 | Emergency Shower and Eyewash |  |  |  |
| D502002 | Task Lighting |  |  |  |
| D503005 | Security System |  |  | Provide panic button at each issue port |
| E103004 | Workbench |  |  |  |
| E109002 | Microwave |  |  |  |
| E109002 | Refrigerator |  |  |  |
| E109090 | Weapons Discharge Canister |  |  |  |
| E109090 | Electric Cord Reels |  |  |  |
| E202003 | Stool Height Task Seating with Adjustable Height and Backs on Casters |  |  | Molded plywood seats and backs |

| DUTY OFFICE |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Duty Office Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: 8’-0” Acoustics: Access: Corridor Number of Occupants: Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| C101001 | Fixed Partitions |  |  |  |
| C102001 | Standard Interior Doors |  |  |  |
| C102001 | Interior Steel door |  |  |  |
| C102007 | Interior Door Hardware |  |  |  |
| [C304002] | [Concrete Wall Finish] |  |  |  |
| [C304003] | [Concrete Masonry Finish] |  |  |  |
| E101005 | G5 Vault Door |  |  |  |
| E202002 | Modular Workstation |  |  |  |
| E202003 | Desk Chair |  |  |  |

| UNIT ARMS ROOMS / WEAPONS STORAGE AREA |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Unit Arms Rooms / Weapons Storage Area Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: 11’-4” Acoustics: Access: Vestibule / Weapons Repair and Maintenance Workshops Number of Occupants: Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| B203090 | Issue Port |  |  | See drawings for issue port details, Appendix C |
| C101001 | Fixed Partitions |  |  |  |
| C101002 | Equipment Cage |  |  | 3080 cage door with push button / key lock |
| C102001 | Standard Interior Doors |  |  |  |
| C102007 | Interior Door Hardware |  |  |  |
| C302010 | Hardeners and Sealers |  |  |  |
| [C303090] | [Concrete Ceiling Finish] |  |  | [See C304002] |
| [C304002] | [Concrete Wall Finish] |  |  |  |
| [C304003] | [Concrete Masonry Finish] |  |  |  |
| [C304007] | [Special Coatings] |  |  |  |
| D503005 | Security System |  |  | Provide panic button at each issue port |
| E109090 | Weapons Racks |  |  |  |

| MECHANICAL ROOM |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Mechanical Room Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: 11’-4” Acoustics: Access: Exterior Number of Occupants: Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| C101001 | Fixed Partitions |  |  |  |
| C102001 | Standard Interior Doors |  |  |  |
| C102007 | Interior Door Hardware |  |  |  |
| C302010 | Hardeners and Sealers |  |  |  |
| [C303090] | [Concrete Ceiling Finish] |  |  | [See C304002] |
| [C304002] | [Concrete Wall Finish] |  |  |  |
| [C304003] | [Concrete Masonry Finish] |  |  |  |
| D202003 | Backflow Preventer |  |  | Special certification requirements |
| D402001 | Fire Protection Water Piping and Equipment |  |  | Fire protection equipment may require separate room |

| STAFF TOILETS /SHOWERS |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Staff Toilets / Showers Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: 8’-0” Acoustics: Access: Corridor Number of Occupants: Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| C101001 | Fixed Partitions |  |  |  |
| C102001 | Standard Interior Doors |  |  |  |
| C102007 | Interior Door Hardware |  |  |  |
| C103001 | Toilet partition and urinal screen |  |  | Solid plastic |
| C103002 | Toilet Accessories |  |  | Toilet paper holder, grab bars, paper towel dispenser – disposer, soap dispenser, mirror with shelf |
| C103002 | Shower Curtain Rod |  |  | Across opening to shower |
| C103005 | Lockers |  |  |  |
| [C304002] | [Concrete Wall Finish] |  |  |  |
| [C304003] | [Concrete Masonry Finish] |  |  |  |
| D201005 | Conventional Shower Enclosure |  |  | With rod and curtain. Provide accessible shower with seat, hand shower, grab bars, curtain and rod |

| ELECTRICAL CLOSET |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Electrical Closet Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: 11’-4” Acoustics: Access: Exterior Number of Occupants: Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| C101001 | Fixed Partitions |  |  |  |
| C102001 | Standard Interior Doors |  |  |  |
| C102007 | Interior Door Hardware |  |  |  |
| C302010 | Hardeners and Sealers |  |  |  |
| [C303090] | [Concrete Ceiling Finish] |  |  | [See C304002] |
| [C304002] | [Concrete Wall Finish] |  |  |  |
| [C304003] | [Concrete Masonry Finish] |  |  |  |
| D5010 | Electrical Equipment |  |  |  |

| COMMUNICATIONS ROOM |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Communications Room Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: 11’-4” Acoustics: Access: Corridor Number of Occupants: Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| C101001 | Fixed Partitions |  |  |  |
| C102001 | Standard Interior Doors |  |  |  |
| C102007 | Interior Door Hardware |  |  |  |
| C302010 | Hardeners and Sealers |  |  |  |
| [C303090] | [Concrete Ceiling Finish] |  |  | [See C304002] |
| [C304002] | [Concrete Wall Finish] |  |  |  |
| [C304003] | [Concrete Masonry Finish] |  |  |  |
| D5030 | Communications Equipment |  |  |  |

| JANITOR CLOSET |  |  |  |  |
| --- | --- | --- | --- | --- |
| ###### Space Characteristics |  |  |  |  |
| Function: Janitor Closet Special Dimensions: Ideal Plan Dimensions: Minimum Ceiling Height: 8’-0” Acoustics: Access: Corridor Number of Occupants: Other/special requirements: |  |  |  |  |
| ###### Uniformat Section | Description | Qty | Size | Specific Requirements |
| C101001 | Fixed Partitions |  |  |  |
| C102001 | Standard Interior Doors |  |  |  |
| C102001 | Solid door |  |  |  |
| C102007 | Interior Door Hardware |  |  |  |
| C102007 | Storage lockset |  |  |  |
| C103006 | Steel shelving |  |  |  |
| C302010 | Hardeners and Sealers |  |  |  |
| [C303090] | [Concrete Ceiling Finish] |  |  | [See C304002] |
| [C304002] | [Concrete Wall Finish] |  |  |  |
| [C304003] | [Concrete Masonry Finish] |  |  |  |
| D201004 | Mop Sink with Mop Hangar |  |  |  |