## 4.2 Space Relationships:  Prototype Armory Building

## **********************************************************************************************************************

NOTE:  Include bubble diagrams, adjacency matrices, and/or block diagrams to explain functional relationships. Include narrative that explains adjacencies and organizational concepts.  Identify areas of project that require ABA Accessibility Standard compliance.

## **********************************************************************************************************************

4.2.1 Notes on the Prototype Armory:

The building as shown is merely a schematic, indicating plan relationships and relative scale of building elements.  The equipment cages shown with demountable wire mesh partitions at all of the divisions between units and along the building circulation corridor are indicated as the method that provides the maximum flexibility for the facility.  Traditional armory construction often has the “corridor” wall as a concrete block or concrete wall, with half-glass doors.