## Report Info
Contents - VA PG-18-5 Department of Veterans Affairs MENTAL HEALTH CLINIC (260) FY 2016 - Qtr 3 (06-12-2016) Report Generated: 18 Jul 2016 04:57PM ET

## MENTAL HEALTH CLINIC (260)
MENTAL HEALTH CLINIC (260) | MENTAL HEALTH CLINIC (260) | MENTAL HEALTH CLINIC (260) | MENTAL HEALTH CLINIC (260) | MENTAL HEALTH CLINIC (260)
1 - RECEPTION AREA | 1 - RECEPTION AREA | 1 - RECEPTION AREA | 1 - RECEPTION AREA | 1 - RECEPTION AREA
1 - WRC01 - Waiting | 1 - WRC01 - Waiting | 1 - WRC01 - Waiting | 1 - WRC01 - Waiting | 1 - WRC01 - Waiting
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A5076 | Dispenser, Hand Sanitizer, Free Standing | 1 | VV | A free standing hand sanitizer dispenser. For use throughout a healthcare facility. Unit does not include the sanitizing liquid. Units are battery operated.
A5210 | Bracket, Television, Wall Mounted, w/Adjust Arm | 1 | VV | Wall mounted television bracket with adjustable arm. Consists of movable arm with minimum 120 degree swivel. Designed for holding wall mounted, flat panel television units in patient rooms.
A5220 | Bracket, Television, Wall Backing | 1 | CC | Wall mounted television bracket backing which provides additional support and strength for the installation of the television bracket. Option available for interior or exterior plate and sized for 12” 16” or 24” stud spacing.
A6046 | Artwork, Decorative, With Frame | 1 | VV | This JSN is to be used for determining and defining location of decorative artwork.
F0206 | Chair, Side, Bariatric, With Arms | 1 | VV | A bariatric side chair with arms for use in a waiting room, lobby or other patient area. Chair will have a padded seat and back and have a capacity of 800 pounds.
F0305 | Chair, Waiting Room, Single | 4 | VV | Single seat waiting room chair with foam padded seat and back. Upholstered with either woven fabric textile or vinyl. Arms and floor glides included.
F2000 | Basket, Wastepaper, Round, Metal | 1 | VV | Round wastepaper basket, approximately 18" high X 16" diameter. This metal unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations.
F2300 | Rack, Magazine, Wall Mounted | 1 | VV | Wall mounted magazine rack with nine (9) magazine holding compartments.
F2310 | Rack, Pamphlet, Wall Mounted | 1 | VV | Wall mounted pamphlet rack up to 12 (twelve) pamphlet holding pockets. Unit is used to store and display educational pamphlets.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M0506 | Television, Flat Screen | 1 | VV | Flat screen television with approximately 32'" to 40' diagonal screen size. The TV will have built-in speakers, NTSC tuner, a 16:9 wide screen aspect ratio, a minimum of 1280 x 768 resolution and a remote control.
2 - NSTA1 - Communication Center | 2 - NSTA1 - Communication Center | 2 - NSTA1 - Communication Center | 2 - NSTA1 - Communication Center | 2 - NSTA1 - Communication Center
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 4 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 2 | VV | Telephone, desk, multiple line.
E0418 | Nurse Station, Medium, Free Standing | 1 | VV | Nurse station typicals have non-powered steel frames with a pre-installed metal junction box for user defined electrical solutions. Data modules and low voltage cabling can be routed freely within the frame. Electrical and/or data devices are not provided with the nurse station. Panel inserts are available in fabric, painted metal, tackable, acoustical, paper management, rail, glass, open and electrical/data accessible styles. Typicals include panel inserts for both sides of the steel frame. All electrical connections must be made by an electrical contractor. THIS TYPICAL INCLUDES: 5 steel frames, 70"H x 24"W; 1 steel frame, 70"H x 48"W; 2 steel frames, 38"W x 48"W; 4 steel frames, 38"H x 24"W; 1 steel frame w/low access, 38"H x 48"W; 2 frame connectors, 3-way corner, 70"H; 1 frame connector, 2-way corner, 38"H; 2 frame connectors, 135 degree, 2-way, 38"H; 9 finished end hardware; 6 frame-to-frame connectors; 3 cantilevered work surface, 48"W; 2 cantilevered, work surface, 72"W; 1 cantilevered low access work surface, 135 degree, 48"W; 2 pedestal box/box/files; 2 panel inserts, painted metal, 8"H x 24"W; 50 panel inserts, painted metal, 16"H x 24"W; 10 panel inserts, painted metal, 16"H x 48"W; 2 panel inserts, painted metal, 20"H x 48"W : 2 panel inserts, tackable, 16"H x 24"W; 2 panel inserts, paper mgmt., 8"H x 48"W; 1 countertop w/light support assembly, 16"D x 14'-0"L; 18 paper tray, 10"W; 2 chart shelf, pass-thru, 24"W; 2 chart shelf, pass-thru, 48"W.
F0280 | Chair, Swivel, Low Back | 4 | VV | Low back contemporary swivel chair, 37" high X 25" wide X 31" deep with a five (5) caster swivel base, arms and foam padded seat and back upholstered with either woven textile fabric or vinyl.
F2000 | Basket, Wastepaper, Round, Metal | 2 | VV | Round wastepaper basket, approximately 18" high X 16" diameter. This metal unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations.
F3050 | Whiteboard, Dry Erase | 1 | VV | Whiteboard unit, approximately 36" H x 48" W consisting of a white porcelain enamel writing surface with an attached chalk tray. Magnetic surface available. Image can be easily removed with a standard chalkboard eraser. For use with water color pens. Unit is ready to hang.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1605 | Holder, Chart, 20 Each | 1 | VV | Clinical chart holder cart. 20 chart capacity. 2 side-by-side tiers. May be ordered in various chart capacities. Constructed of heavy metal frames with vinyl laminated surfaces or painted panels. 3" casters with locks. Used to hold patient spring loaded charts.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 4 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M1820 | Imprinter, Data Record, Electric | 1 | VV | Electric data record imprinter. The device accepts embossed plastic patient cards in either the 50 column or the 80 column format and adjusts automatically for card size and form thickness. Device will provide clear readable impressions with a cycle that is less than 1 second in length. Electro-mechanical design provides for a consistent impression that is independent of operator knowledge or technique. Unit may include a date/time stamp as an accessory.
M1840 | Printer/Copier/Fax Combination | 1 | VV | Multifunctional printer, fax, scanner and copier (PFC) all-in-one machine.
M1855 | Facsimile Machine | 1 | VV | Plain paper facsimile unit used to transmit printed matter or images over standard telephone lines. The unit operates at a modem speed of 33.6 Kbps and automatically recognizes and communicates with a variety of standard facsimile machines. Commonly referred to as "fax" unit.
M7850 | Monitor, Physiological, Central, 8 Bed, Color | 1 | VV | Eight bed central physiologic monitoring station. System consists of a central monitor that displays patient information from bedside monitors. It also centralizes alarm and recording functions from ECG tracings to vital signs display. Up to eight patients monitoring capabilities. Designed for use in the ICU, CCU, emergency room or recovery room.
3 - TLTU1 - Toilet, Public | 3 - TLTU1 - Toilet, Public | 3 - TLTU1 - Toilet, Public | 3 - TLTU1 - Toilet, Public | 3 - TLTU1 - Toilet, Public
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1067 | Mirror, Float Glass, ADA Accessible | 1 | CC | A high quality 1/4" polished float glass mirror with a stainless steel frame. Frame holds mirror in a tilted position for accessibility and compliance with ADA requirements. Mirror has a galvanized steel back secured to frame with concealed screws with integral horizontal hanging brackets. Mirror shall be approximately 18" wide and 36" high. Other sizes are available.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5090 | Disposal, Sanitary Napkin, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, sanitary napkin disposal. Disposal features a flip-up cover, secured to the container by a heavy duty stainless steel piano-hinge. Disposal may be secured to wall or toilet partition. For general purpose use in female toilet stalls or rooms and uni-sex toilet rooms.
A5109 | Grab Bar, 1-1/4" Dia., SS, 2 Wall, W/C Accessible | 1 | CC | A 1-1/4" diameter, satin finish stainless steel, peened gripping surface, 2 wall toilet stall/ room, grab bar with concealed mounting flanges. Snap over flanges are provided to conceal mounting screws. A selection of mounting kits and concealed anchor devices are available from the manufacturers for different types of installations. Grab bar shall comply with barrier-free accessibility guidelines for structural strength. For typical water closet applications in toilet stalls and rooms where ADA (American's With Disabilities Act) requirements must be met.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5200 | Dispenser, Toilet Tissue, SS, 2-Roll, Surface Mntd | 1 | CC | A concealed surface mounted, double roll, satin finish stainless steel, toilet tissue dispenser. Unit accommodates two standard-core toilet tissue rolls through 5" in diameter. Spindles are chrome plated plastic with a heavy-duty internal spring and turn freely for non-controlled delivery. For general purpose use in restrooms.
F2010 | Basket, Wastepaper, Step-On | 1 | VV | "Step-on" wastepaper basket with inner liner and foot petal activated flip top.
P3000 | Lavatory, Vitreous China, Straight Back | 1 | CC | Wall mounted, vitreous china lavatory (approximate bowl size 7"x15"x10") with: straight-front apron, straight or contoured back; faucet holes on 4" centers; gooseneck spout; wrist blade handles; and grid strainer. It shall be suitable for use in clinics, offices, washrooms or patient care areas.
P9050 | Toilet, Wall Hung, Siphon Jet | 1 | CC | Siphon jet water closet/ toilet. This unit is wall hung with an elongated bowl, top spud flushometer, seat with open front and check hinge, and carrier. Used in restrooms throughout the health care facility.
2 - PATIENT AREA | 2 - PATIENT AREA | 2 - PATIENT AREA | 2 - PATIENT AREA | 2 - PATIENT AREA
1 - EXRG3 - Exam Room | 1 - EXRG3 - Exam Room | 1 - EXRG3 - Exam Room | 1 - EXRG3 - Exam Room | 1 - EXRG3 - Exam Room
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
A1066 | Mirror, Float Glass, With SS Frame | 1 | CC | A high quality 1/4" polished float glass mirror 36X18, framed in a one-piece, bright polished, stainless steel channel frame with 90° mitered corners. All edges of the mirror are protected by absorbing filler strips. Mirror has a galvanized steel back with integral horizontal hanging brackets and wall hanger for concealed mounting. For mounting above single wall mounted lavatories located in toilet areas, Doctors examination offices, etc. May also be used above double lavatories, either wall or countertop mounted, found in restroom areas.
A1132 | Rail, Accessory Mounting, Length As Required | 2 | VC | Horizontal mounting rail will consist of lock mounting devices capable of; supporting up to 75 pounds each, being repositioned, and mounting and dismounting of equipment without the use of tools. The rail must be capable of supporting medical equipment and accessories normally found in exam or patient rooms. The rail system must be capable of mounting and dismounting equipment without leaving or creating new holes in the finished surface of the wall.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5106 | Waste Disposal Unit, Sharps w/Glove Dispenser | 1 | VV | The unit is designed for the disposal of sharps and complies with OSHA guidelines for the handling of sharps. It shall house a 5 quart container and be capable of being mounted on a wall. It shall have a glove dispenser attached. The unit shall be secured by a locked enclosure.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 2 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5180 | Track, Cubicle, Surface Mounted, With Curtain | 10 | VV | Surface mounted cubicle track, with curtain. Track constructed of thick extruded aluminum. Equipped with self lubricating carriers, beaded drop chain hooks, and flame resistant curtain. To include removable end caps. Designed to be suspended around patient areas where privacy is needed. Price listed is per foot of the track, curtains to be priced per quote.
A6046 | Artwork, Decorative, With Frame | 1 | VV | This JSN is to be used for determining and defining location of decorative artwork.
E0948 | Cart, General Storage, Mobile, 42"H x 32"W x 22"D | 1 | VV | THIS TYPICAL INCLUDES: 1 Cart Body, Style-A Narrow, w/Raised Edge Top 2 Drawers, 3" H 4 Drawers, 6" H 1 Accessory Rail, Side Drawer Organizer Bins
F0210 | Chair, Side, Without Arms | 1 | VV | Upholstered side chair approximately 32" high X 19" wide X 23" deep with floor glides. Seat is non-tilting and without arms.
F0280 | Chair, Swivel, Low Back | 1 | VV | Low back contemporary swivel chair, 37" high X 25" wide X 31" deep with a five (5) caster swivel base, arms and foam padded seat and back upholstered with either woven textile fabric or vinyl.
F0340 | Stool, Self Adjusting | 1 | VV | Self adjusting stool. Consists of a foam padded upholstered seat with attached foot rest for added comfort. Mounted on swivel casters. Designed for doctor's use during examinations.
F2000 | Basket, Wastepaper, Round, Metal | 2 | VV | Round wastepaper basket, approximately 18" high X 16" diameter. This metal unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1620 | Holder, Chart, Patient, Wall or Door Mounted | 1 | VV | Wall or door mounted patient chart holder. Constructed of durable plastic or metal. Used for holding patient records. Size as required.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M1802 | Work Station, Computer, Retractable, Wall Mounted | 1 | VV | A wall mounted retractable work station. Work station is used as a computer station in treatment rooms, exam rooms and areas where physical space in limited.
M3072 | Frame, Infectious Waste Bag w/Lid | 1 | VV | Frame for an infectious waste collection bag. Made of heavy tubular stainless steel with heavy gauge welded steel platform. Adjust to hold 18" or 25" trash bags. Mounted on ball bearing casters and includes permanently mounted hinged lid. Provides means of bagging infectious waste at point of waste generation.
M4100 | Sphygmomanometer, Aneroid, Wall Mounted | 1 | VV | Aneroid sphygmomanometer. Unit is wall mounted and has large graphic dial display for easy reading from all angles. It has a 90 degree (angle) swivel and 10 degree (angle) forward tilt to reduce glare. Unit accuracy is within 1% of reading. Sturdy impact-resistant construction.
M4200 | Otoscope/Ophthalmoscope, Wall Mounted | 1 | VV | Wall mounted otoscope and ophthalmoscope. Includes 6 foot line cord and plug and accepts and includes two handles. Contains head turn-on/turn-off, built-in speculum tray and 8 foot coiled cords. Unit is designed for use in patient exam rooms.
M7401 | Light, Exam, Mobile, Spotlight, Mobile Stand | 1 | VV | The exam light shall be a mobile floor unit. The light will be a halogen bulb or LED that can produce a continuous and homogeneous spot of light adjustable from 5 to 9 inches in diameter from a set distance. The light intensity shall be a minimum of 750 foot-candles at a distance of 16 inches and have a color temperature of 3,200 degrees Kelvin. The unit will consist of an arm or sleeve of approximately 45 inches in length to allow for easy arm rotation and arm movement up and down. The unit shall be mounted on a caster base for easy movement.
M9025 | Table, Examination/Treatment, With Cabinet | 1 | VV | Table, examination/treatment with cabinet. Cabinet type exam table with three section upholstered top adjustable to a full chair position. Concealed heel stirrups, dual outlets, drawers, and storage space with optional armboard. Unit is designed for general use in examination/treatment rooms.
P3100 | Lavatory, Vitreous China, Slab Type | 1 | CC | Wall mounted, slab type, vitreous china, lavatory (approximate bowl size 7"x15"x10") with: faucet holes on 4" centers; gooseneck spout; wrist blade handles; and grid strainer. It shall be suitable for use in clinics, offices, washrooms or patient care area.
2 - TRGM1 - Treatment Room | 2 - TRGM1 - Treatment Room | 2 - TRGM1 - Treatment Room | 2 - TRGM1 - Treatment Room | 2 - TRGM1 - Treatment Room
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
A1080 | Mirror, Posture, Wall Mounted | 1 | CC | Wall mounted posture mirror. Consists of a 1/4" plate glass in a sturdy corrosion resistant frame with water proof back. For educational and therapy programs.
A1132 | Rail, Accessory Mounting, Length As Required | 1 | VC | Horizontal mounting rail will consist of lock mounting devices capable of; supporting up to 75 pounds each, being repositioned, and mounting and dismounting of equipment without the use of tools. The rail must be capable of supporting medical equipment and accessories normally found in exam or patient rooms. The rail system must be capable of mounting and dismounting equipment without leaving or creating new holes in the finished surface of the wall.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5106 | Waste Disposal Unit, Sharps w/Glove Dispenser | 1 | VV | The unit is designed for the disposal of sharps and complies with OSHA guidelines for the handling of sharps. It shall house a 5 quart container and be capable of being mounted on a wall. It shall have a glove dispenser attached. The unit shall be secured by a locked enclosure.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5180 | Track, Cubicle, Surface Mounted, With Curtain | 15 | VV | Surface mounted cubicle track, with curtain. Track constructed of thick extruded aluminum. Equipped with self lubricating carriers, beaded drop chain hooks, and flame resistant curtain. To include removable end caps. Designed to be suspended around patient areas where privacy is needed. Price listed is per foot of the track, curtains to be priced per quote.
E0945 | Cart, Computer, Mobile | 1 | VV | A mobile computer cart for use throughout the facility. The cart dimensions will be approximately 45" H x 30" W x 22" D with casters. May include drawers and miscellaneous other accessories that will be determined at time of purchase. This Typical may include: 1 Cart Body, w/Computer Support, Style-A Narrow, w/Raised Edge Top 1 Flip-Up Shelf 1 Sharps Container Holder 1 Wastebasket 1 Chart Holder 2 Drawers, 3"H 2 Drawers, 6"H 3 Accessory Rail, Side Drawer Organizer Bins
E0948 | Cart, General Storage, Mobile, 42"H x 32"W x 22"D | 1 | VV | THIS TYPICAL INCLUDES: 1 Cart Body, Style-A Narrow, w/Raised Edge Top 2 Drawers, 3" H 4 Drawers, 6" H 1 Accessory Rail, Side Drawer Organizer Bins
F0205 | Chair, Side With Arms | 1 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0340 | Stool, Self Adjusting | 1 | VV | Self adjusting stool. Consists of a foam padded upholstered seat with attached foot rest for added comfort. Mounted on swivel casters. Designed for doctor's use during examinations.
F0355 | Footstool, Straight | 1 | VV | Step stool. Used to assist patients getting on and off exam or surgical tables. Fitted with electrically conductive rubber tips.
F2010 | Basket, Wastepaper, Step-On | 1 | VV | "Step-on" wastepaper basket with inner liner and foot petal activated flip top.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M3073 | Container, Biohazard Waste, Step-on, Fire Safe | 1 | VV | A biohazard waste container with a step-on lid. The container will have a capacity of approximately 12 gallons and be made of a fire safe material.
M4100 | Sphygmomanometer, Aneroid, Wall Mounted | 1 | VV | Aneroid sphygmomanometer. Unit is wall mounted and has large graphic dial display for easy reading from all angles. It has a 90 degree (angle) swivel and 10 degree (angle) forward tilt to reduce glare. Unit accuracy is within 1% of reading. Sturdy impact-resistant construction.
M4116 | Monitor, Vital Signs | 1 | VV | Electronic sphygmomanometer. LCD displays non-invasive blood pressure, pulse rate and temperature. Used in hospitals and clinics. Includes an optional mobile stand.
M4200 | Otoscope/Ophthalmoscope, Wall Mounted | 1 | VV | Wall mounted otoscope and ophthalmoscope. Includes 6 foot line cord and plug and accepts and includes two handles. Contains head turn-on/turn-off, built-in speculum tray and 8 foot coiled cords. Unit is designed for use in patient exam rooms.
M4255 | Stand, IV, Adjustable | 1 | VV | Adjustable IV stand with 4-hook arrangement. Stand has stainless steel construction with heavy weight base. It adjusts from 66 inches to 100 inches and is mounted on conductive rubber, ball bearing, swivel casters. Stand is used for administering intravenous solutions.
M4266 | Pump, Volumetric, Infusion, Multiple Line | 1 | VV | Volumetric infusion pump. Pump is self-regulating with automatic sensor and adjustable rate. Equipped with visual and audible alarms and up to 10 hour capacity battery. For the administration of a wide variety of therapeutic agents where precise control is required. Unit provides individual control to IV lines simultaneously.
M4655 | Stretcher, Mobile, CRS, 9 Position | 1 | VV | Mobile stretcher. All corrosion resistant stainless steel construction. It consists of a tubular frame with side rails, a 9-position hydraulic base with pneumatic fowler adjustment, and a 2" pad. Unit is mounted on 8" conductive casters. Designed for patient transport as well as for minor surgical procedures.
M7470 | Light, Surgical, Ceiling, Single, Small | 1 | CC | Ceiling mounted surgical light. Consists of a single lamp head up to 24" in diameter depending on the manufacturer. Unit provides heat filtered, color corrected light. Most lights require a minimum ceiling height of 8 feet 2 inches; check manufacturers' specific recommendations. Light head is in a movable yoke attached to a column hanging from the ceiling. For minor surgery and obstetrical procedures. Physical dimensions refer to the retracted light; one length of the dual swing arm around the center mount for width and depth and the height is the combined lamp head and folded arms height.
M8810 | Stand, Mayo | 1 | VV | Adjustable instrument table. Table is corrosion resistant stainless steel construction and is mounted on two casters with two skid rails. It has telescopic upright adjusts from 39 inches to 60 inches with automatic locking device, and removable 13"x19" instrument tray. Designed for use in operating and procedure rooms.
P3100 | Lavatory, Vitreous China, Slab Type | 1 | CC | Wall mounted, slab type, vitreous china, lavatory (approximate bowl size 7"x15"x10") with: faucet holes on 4" centers; gooseneck spout; wrist blade handles; and grid strainer. It shall be suitable for use in clinics, offices, washrooms or patient care area.
3 - OPMH1 - Group Therapy Room | 3 - OPMH1 - Group Therapy Room | 3 - OPMH1 - Group Therapy Room | 3 - OPMH1 - Group Therapy Room | 3 - OPMH1 - Group Therapy Room
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
F0220 | Chair, Conference | 8 | VV | Conference chair designed to complement the executive furniture package selected. Foam rubber cushioned seats and backs covered with either woven fabric or vinyl. Base with 5 (five) swivel casters.
F0755 | Table, Conference, Wood | 1 | VV | Executive conference table. Dimensions are approximately 30" high, 48" wide with lengths varying from 74" to 96". These tables add traditional elegance to any conference room.
F2250 | Camcorder, Hand Held, HD, Zoom, w/Microphone | 1 | VV | Hand held camcorder with full HD recording, LCD display and microphone. Camcorder will also have capability for still picture capture. Audio and video output will be fully transferable to a computer.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
4 - OPMH3 - Biofeedback Laboratory Treatment Room | 4 - OPMH3 - Biofeedback Laboratory Treatment Room | 4 - OPMH3 - Biofeedback Laboratory Treatment Room | 4 - OPMH3 - Biofeedback Laboratory Treatment Room | 4 - OPMH3 - Biofeedback Laboratory Treatment Room
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1011 | Telephone, Desk, 1 Line | 1 | VV | Telephone, desk, 1 line.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5106 | Waste Disposal Unit, Sharps w/Glove Dispenser | 1 | VV | The unit is designed for the disposal of sharps and complies with OSHA guidelines for the handling of sharps. It shall house a 5 quart container and be capable of being mounted on a wall. It shall have a glove dispenser attached. The unit shall be secured by a locked enclosure.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5180 | Track, Cubicle, Surface Mounted, With Curtain | 1 | VV | Surface mounted cubicle track, with curtain. Track constructed of thick extruded aluminum. Equipped with self lubricating carriers, beaded drop chain hooks, and flame resistant curtain. To include removable end caps. Designed to be suspended around patient areas where privacy is needed. Price listed is per foot of the track, curtains to be priced per quote.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
E0906 | Locker, Supply, General, Wall Mtd, 23"W x 20"D | 1 | VV | THIS TYPICAL INCLUDES: 1 Wall Mounted Rail 1 Locked Storage Container 2 Tray/Shelves 1 Drawer, 3"H 3 Drawers, 6"H 2 Drawers, 9"H 1 Tray/Shelf Divider Drawer Organizer Bins Consider the need for an E0921 to transport the locker from place to place.
E0912 | Locker, Supply, Med Surg, Wall Mtd | 1 | VV | Medical/Surgical Supply locker, Wall Mounted, approximately 23"W x 20"D. THIS TYPICAL INCLUDES: 1 Wall Mounted Rail 1 Locked Storage Container 4 Tray/Shelves 5 Drawers, 3"H 2 Drawers, 6"H 2 Tray/Shelf Dividers Drawer Organizer Bins Consider the need for an E0921 to transport the locker from place to place.
E1500 | Rail, MOD, W/MNTD, HX144XD | 1 | VV | Wall mounted rail used for hanging (mounting) lockers, shelves and drawers on a wall.
F0265 | Chair, Recliner | 1 | VV | Reclining chair, 46" high X 33" wide X 40"deep with arms, straight leg base and floor glides or lockable two (2) inch casters. Seat, back and foot rest are foam padded and upholstered with woven textile fabric or vinyl.
F0280 | Chair, Swivel, Low Back | 1 | VV | Low back contemporary swivel chair, 37" high X 25" wide X 31" deep with a five (5) caster swivel base, arms and foam padded seat and back upholstered with either woven textile fabric or vinyl.
F0340 | Stool, Self Adjusting | 1 | VV | Self adjusting stool. Consists of a foam padded upholstered seat with attached foot rest for added comfort. Mounted on swivel casters. Designed for doctor's use during examinations.
F2000 | Basket, Wastepaper, Round, Metal | 1 | VV | Round wastepaper basket, approximately 18" high X 16" diameter. This metal unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1620 | Holder, Chart, Patient, Wall or Door Mounted | 1 | VV | Wall or door mounted patient chart holder. Constructed of durable plastic or metal. Used for holding patient records. Size as required.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M4100 | Sphygmomanometer, Aneroid, Wall Mounted | 1 | VV | Aneroid sphygmomanometer. Unit is wall mounted and has large graphic dial display for easy reading from all angles. It has a 90 degree (angle) swivel and 10 degree (angle) forward tilt to reduce glare. Unit accuracy is within 1% of reading. Sturdy impact-resistant construction.
M7710 | Electrocardiograph, 12 Lead, Portable | 1 | VV | Used to detect the electrical signals associated with cardiac activity, diagnose cardiac abnormalities, determine a patients response to drug therapy and reveal trends or changes in heart function. Capable of recording two or more leads simultaneously, recording an entire 12 lead ECG in about 10 seconds. Includes of a 3.5 inch, high density, floppy disk drive for test storage. Portable.
M8180 | Biofeedback Analysis System | 1 | VV | Computer based biofeedback testing and analysis system. Unit accepts electroencephalograph (EEG), electromyograph (EMG), DC potential, goniometry, body temperature and other physiologic measurements for correlation and analysis. The system is primarily used in psychiatry and psychology clinics for rehabilitation treatments and pain management training.
P3100 | Lavatory, Vitreous China, Slab Type | 1 | CC | Wall mounted, slab type, vitreous china, lavatory (approximate bowl size 7"x15"x10") with: faucet holes on 4" centers; gooseneck spout; wrist blade handles; and grid strainer. It shall be suitable for use in clinics, offices, washrooms or patient care area.
5 - CMP02 - Biofeedback Laboratory Control Room / Office | 5 - CMP02 - Biofeedback Laboratory Control Room / Office | 5 - CMP02 - Biofeedback Laboratory Control Room / Office | 5 - CMP02 - Biofeedback Laboratory Control Room / Office | 5 - CMP02 - Biofeedback Laboratory Control Room / Office
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A0900 | Relay Rack, Aluminum | 1 | VV | Rack used to hold network components such as servers, switches, hubs, patch panels, router, etc. Racks are available in varying heights, channel depths, and channel width. The model numbers specified may be U.L. Listed version with 2 Top Angles, 7' height, 19" wide, blank Aluminum, with mounting holes on both sides (front and back).
A0901 | Cable Management, Horizontal Base Unit | 1 | VV | Horizontal cable management unit for a 19" rack with a channel approximately 2"x2". Provides for professional finish to hide cables in a switch rack. Various models are quoted with fingered type exits or brackets and/or rear access holes.
A0902 | Rear Wire Frame | 1 | VV | For use with horizontal base unit for double sided management. This item is intended to be used with JSNs A0901 and/or A0903 model HC219 series from Hubbell only.
A0903 | Rear Hinged Cover, for LAN Rack | 1 | VV | This item is intended to be used with JSNs A0901 and/or A0902 model HC219 series from Hubbell only.
A0904 | Fiber Optic Cabinet, 36 Port, Rack Mounted | 1 | VV | This cabinet is designed to accommodate up to 6 six-packs of adapters or blank panels. This cabinet is specifically designed to accommodate Hubbell adapter panels as reflected in JSNs A0905 and A0906.
A0905 | Adapter Panel With Couplers, Blue, 6 Port, SM/MM | 1 | VV | Modular six-pack fiber adapter panel, designed to snap into Hubbell's enclosures such as JSN A0904. Loaded with 3 SM/MM SC duplex style blue adapters, standard density.
A0906 | Adapter Panel With Couplers, Yellow, 6 Port, SM/MM | 1 | VV | Modular six-pack fiber adapter panel, designed to snap into Hubbell's enclosures such as JSN A0904. Loaded with 3 SM/MM SC duplex style Yellow adapters, standard density.
A0908 | Patch Panel, 110 Block/RJ-45, Cat 5E, 48 Port,568A | 1 | VV | This 48 Port/RJ45, Cat 5e (or better) patch panel is designed for the following applications. Gigabit 1000BASE-T, 100BASE-TX, ATM 155, TP-PMD (CDDI).
A0910 | Patch Panel, 110 Block/RJ-45, Cat 5E, 96 Port,568A | 1 | VV | This 96 Port/RJ45, Cat 5e (or better) patch panel is designed for the following applications. Gigabit 1000BASE-T, 100BASE-TX, ATM 155, TP-PMD (CDDI).
A0911 | Power Supply, Uninterruptable, Rack Mounted | 1 | VV | Uninterruptable Power Supply, Approximately 2200VA/1600W, Rack Mount with extendable Run Time. Unit must incorporate hot user swappable batteries and must have an overload indicator, replace battery indicator, audible alarm, automatic voltage regulation and include Smart Slot card and software. It must use RS232 DB-9 interface for communication. NEMA L5-30P power connector, and (8) NEMA 5-15R outlets.
A0912 | Battery Pack, Extended for use with UPS (A0911) | 1 | VV | Battery Pack for use with JSN A0911 to extend backup power availability. Battery rated at approximately 1600 VA.
A0913 | Switch, Local Area Network (LAN) | 1 | VV | Omni switch router, 9 slot chassis, 725W AC power supply and rack mount brackets. Supports high speed frame switching fabric. Software and Manual included. Requires management module JSN A0914 and works with Power Supply A0915.
A0914 | Management Processor Module for LAN Switch | 1 | VV | Management processor module with 10BaseT with layer-3 switching (HRE-X); 32 MB DRAM & 8 MB flash memory. Operates over the 22G distributed switching fabric. Works with Switch LAN JSN A0913 and Power Supply A0915.
A0915 | Power Supply, 725 W, for LAN Switch | 1 | VV | 725 Watt powersupply. Redundant or spare power supply for the 9 slot Omni Switch Router. Works with Switch LAN JSN A0913 and Management Processor JSN A0914.
A0916 | Switching Module, Desktop, Fast Ethernet | 1 | VV | High Density Fast Ethernet desktop switching module. Thirty-two 10/100Base TX switching ports, RJ-45 connectors. Supports Cat 5 twisted pair cable-100 ohm and CAM support for 1024 MAC addresses.
A0917 | Switching Module, MM Fiber, Gigabit Ethernet Server | 1 | VV | Gigabit Ethernet server switching module. Four 1000 base SX switching ports, SC connectors. Supports multi-mode fiber optic cable and CAM support for 4096 MAC addresses. Must be used in the Omni Switch/Router product only.
A0918 | Switching Module, SM, Gigabit Ethernet Server | 1 | VV | Gigabit Ethernet server switching module. Four 1000 Base LX switching ports, SC connectors. Supports single mode fiber optic cable and CAM support for 4096 MAC addresses. Must be used in the Omni Switch/Router product only.
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
F0280 | Chair, Swivel, Low Back | 1 | VV | Low back contemporary swivel chair, 37" high X 25" wide X 31" deep with a five (5) caster swivel base, arms and foam padded seat and back upholstered with either woven textile fabric or vinyl.
F2000 | Basket, Wastepaper, Round, Metal | 1 | VV | Round wastepaper basket, approximately 18" high X 16" diameter. This metal unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations.
6 - TLTU1 - Toilet, Patient | 6 - TLTU1 - Toilet, Patient | 6 - TLTU1 - Toilet, Patient | 6 - TLTU1 - Toilet, Patient | 6 - TLTU1 - Toilet, Patient
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1067 | Mirror, Float Glass, ADA Accessible | 1 | CC | A high quality 1/4" polished float glass mirror with a stainless steel frame. Frame holds mirror in a tilted position for accessibility and compliance with ADA requirements. Mirror has a galvanized steel back secured to frame with concealed screws with integral horizontal hanging brackets. Mirror shall be approximately 18" wide and 36" high. Other sizes are available.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5090 | Disposal, Sanitary Napkin, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, sanitary napkin disposal. Disposal features a flip-up cover, secured to the container by a heavy duty stainless steel piano-hinge. Disposal may be secured to wall or toilet partition. For general purpose use in female toilet stalls or rooms and uni-sex toilet rooms.
A5109 | Grab Bar, 1-1/4" Dia., SS, 2 Wall, W/C Accessible | 1 | CC | A 1-1/4" diameter, satin finish stainless steel, peened gripping surface, 2 wall toilet stall/ room, grab bar with concealed mounting flanges. Snap over flanges are provided to conceal mounting screws. A selection of mounting kits and concealed anchor devices are available from the manufacturers for different types of installations. Grab bar shall comply with barrier-free accessibility guidelines for structural strength. For typical water closet applications in toilet stalls and rooms where ADA (American's With Disabilities Act) requirements must be met.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5200 | Dispenser, Toilet Tissue, SS, 2-Roll, Surface Mntd | 1 | CC | A concealed surface mounted, double roll, satin finish stainless steel, toilet tissue dispenser. Unit accommodates two standard-core toilet tissue rolls through 5" in diameter. Spindles are chrome plated plastic with a heavy-duty internal spring and turn freely for non-controlled delivery. For general purpose use in restrooms.
F2010 | Basket, Wastepaper, Step-On | 1 | VV | "Step-on" wastepaper basket with inner liner and foot petal activated flip top.
P3000 | Lavatory, Vitreous China, Straight Back | 1 | CC | Wall mounted, vitreous china lavatory (approximate bowl size 7"x15"x10") with: straight-front apron, straight or contoured back; faucet holes on 4" centers; gooseneck spout; wrist blade handles; and grid strainer. It shall be suitable for use in clinics, offices, washrooms or patient care areas.
P9050 | Toilet, Wall Hung, Siphon Jet | 1 | CC | Siphon jet water closet/ toilet. This unit is wall hung with an elongated bowl, top spud flushometer, seat with open front and check hinge, and carrier. Used in restrooms throughout the health care facility.
3 - STAFF AND ADMINISTRATIVE AREA | 3 - STAFF AND ADMINISTRATIVE AREA | 3 - STAFF AND ADMINISTRATIVE AREA | 3 - STAFF AND ADMINISTRATIVE AREA | 3 - STAFF AND ADMINISTRATIVE AREA
1 - OFA09 - Office, Mental Health Clinic Chief | 1 - OFA09 - Office, Mental Health Clinic Chief | 1 - OFA09 - Office, Mental Health Clinic Chief | 1 - OFA09 - Office, Mental Health Clinic Chief | 1 - OFA09 - Office, Mental Health Clinic Chief
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
E0090 | Workstation, L-Shaped, Free Standing, 72x72 | 1 | VV | THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel-to-Panel Connectors 1 Panel Connector, 2-Way Corner 2 Finished End Hardware 2 Lockable Flipper Units 2 Shelves, Storage/Display 3 Lights 3 Tackboards 2 Cantilevered Work Surfaces 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File 1 Pencil Drawer 2 Support Panels
F0205 | Chair, Side With Arms | 1 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Round, Metal | 1 | VV | Round wastepaper basket, approximately 18" high X 16" diameter. This metal unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
2 - OFDC1 - Office, Counselor | 2 - OFDC1 - Office, Counselor | 2 - OFDC1 - Office, Counselor | 2 - OFDC1 - Office, Counselor | 2 - OFDC1 - Office, Counselor
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 2 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A6046 | Artwork, Decorative, With Frame | 2 | VV | This JSN is to be used for determining and defining location of decorative artwork.
E0063 | Workstation, L-Shaped w/Peninsula, Wall Mtd, 72x72 | 1 | VV | THIS TYPICAL INCLUDES: 3 Vertical Hanging Strips 2 Lockable Flipper Units 2 Shelves, Storage/Display 2 Lights 1 Tackboard 2 Tool Rails 2 Paper Trays 1 Diagonal Tray 1 Cantilevered Work Surface 1 Peninsula Work Surface 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File 1 Pencil Drawer 1 Cpu Holder
F0110 | Bookcase, 3 Shelf | 1 | VV | Freestanding open metal shelf book case, approximately 60" high X 36" wide X 18" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0255 | Chair, Easy | 2 | VV | Easy chair approximately 35" high X 28" wide X 32" deep with arms and floor glides. Arms, back and seat are foam padded and upholstered in woven textile fabric or vinyl.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Round, Metal | 1 | VV | Round wastepaper basket, approximately 18" high X 16" diameter. This metal unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M1825 | Printer, Computer | 1 | VV | High resolution computer printer with a variety of type styles and sheet/envelope feeder trays. Database information reflects network ready, medium duty office style laser printers. Other types of printers (bubble jet, dot matrix, line or plotter) as well as light or heavy use capabilities are available.
3 - OFA07 - Workstation, Secretary | 3 - OFA07 - Workstation, Secretary | 3 - OFA07 - Workstation, Secretary | 3 - OFA07 - Workstation, Secretary | 3 - OFA07 - Workstation, Secretary
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Round, Metal | 1 | VV | Round wastepaper basket, approximately 18" high X 16" diameter. This metal unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
4 - OFA07 - Workstation, Clerical | 4 - OFA07 - Workstation, Clerical | 4 - OFA07 - Workstation, Clerical | 4 - OFA07 - Workstation, Clerical | 4 - OFA07 - Workstation, Clerical
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Round, Metal | 1 | VV | Round wastepaper basket, approximately 18" high X 16" diameter. This metal unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
5 - SL001 - Lounge, Staff | 5 - SL001 - Lounge, Staff | 5 - SL001 - Lounge, Staff | 5 - SL001 - Lounge, Staff | 5 - SL001 - Lounge, Staff
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
A1080 | Mirror, Posture, Wall Mounted | 1 | CC | Wall mounted posture mirror. Consists of a 1/4" plate glass in a sturdy corrosion resistant frame with water proof back. For educational and therapy programs.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5210 | Bracket, Television, Wall Mounted, w/Adjust Arm | 1 | VV | Wall mounted television bracket with adjustable arm. Consists of movable arm with minimum 120 degree swivel. Designed for holding wall mounted, flat panel television units in patient rooms.
A5220 | Bracket, Television, Wall Backing | 1 | CC | Wall mounted television bracket backing which provides additional support and strength for the installation of the television bracket. Option available for interior or exterior plate and sized for 12” 16” or 24” stud spacing.
C02C0 | Cabinet, U/C/B, 1 Shelf, 1 Drawer, 1 DO, 36x24x22 | 1 | CC | Standing height under counter base cabinet with an adjustable shelf and a full width drawer above a solid right or left-hinged door (appropriate door hinge configuration to be indicated on equipment elevation drawings). Also referred to as a combination cabinet or a drawer and cupboard cabinet. For general purpose use throughout the facility.
C02D0 | Cabinet, U/C/B, 4 Drawer, 36x24x22 | 1 | CC | Standing height under counter base cabinet with four full width drawers of equal height. Also referred to as a drawer cabinet. For general purpose use throughout the facility.
C04P0 | Cabinet, Sink, U/C/B, 2 Door, 36x36x22 | 1 | CC | Standing height under counter base sink cabinet with solid hinged doors. Also referred to as a double-door sink cabinet. For general purpose use throughout the facility where a sink is to be used. Coordinate actual clear cabinet dimension with the actual outside dimension of sink that is specified to ensure that they are compatible.
CB020 | Cabinet, W/H, 2 Shelf, 1 DO, Sloping Top, 38x24x13 | 2 | CC | Wall hung cabinet with two adjustable shelves, solid right or left-hinged door (appropriate door hinge configuration to be indicated on equipment elevation drawings), and sloping top. Also referred to as a solid hinged single door case. For general purpose use throughout the facility.
CS010 | Sink, SS, Single Compartment, 7.5x12x12 ID | 1 | CC | Single compartment stainless steel sink, drop-in, self-rimming, ledge-type, connected with a drain and provided with a mixing faucet. It shall also be provided with pre-punched fixture holes on 4" center, integral back ledge to accommodate deck-mounted fixtures, brushed/polished interior and top surfaces, and sound deadened. Recommended for use in suspended or U/C/B sink cabinets having a high plastic laminate or Chemsurf laminate countertop/work surface. For general purpose use throughout the facility.
CT020 | Countertop, Solid Surface | 7 | CC | A solid, nonporous countertop with a smooth seamless appearance. Easy to clean and maintain and with proper cleaning does not support the growth of mold. An acrylic-based solid surface product. Standard thickness of 1", and a 4" butt backsplash/curb. Also referred to as a work surface or work top. Available in a choice of colors and depths. Used in lab and other hospital areas requiring optimum physical and chemical resisting properties.
F0225 | Chair, Dining Room | 4 | VV | Dining room chair with glides. Chair has straight legs with cushioned cloth or vinyl seat.
F0795 | Table, Dining | 1 | VV | Dining table. Round 42" diameter or square 42" X 42". Used in dining facilities and can comfortably seat up to four (4) persons.
F2015 | Basket, Wastepaper, Metal/Plastic,2 Swinging Doors | 1 | VV | Metal receptacle for soiled / used towels or waste. Equipped with a removable tapered top with two independently operating self-closing, spring hinged doors. Used in public facilities for the collection and temporary storage of refuse.
F3065 | Whiteboard/Bulletin Board, Combination | 1 | VV | A combination whiteboard and bulletin board, half LCS and half cork. Available with either aluminum or wood frame. It can be used in patient rooms or in any appropriate space in the facility.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
K1552 | Brewer, Coffee, Auto, Elect, 3 Burner, Front/Back | 1 | VV | Space saving front to back automatic coffee maker. This unit includes a heating tank, connection for a cold water supply, decanter service with three burners, funnel and a water flow controller. The unit is used for semi-automatic coffee brewing in cafeterias and commercial institutions. The unit automatically shuts off the water flow when enough has passed through to fill the pot. The unit is normally provided plumbed with a hot water faucet to the side for making other hot drinks (tea, cider, cocoa, etc.). The database height dimension does not include the clearance for coffee decanters warming on the upper burners.
K4665 | Oven, Microwave, Consumer | 1 | VV | Counter mounted microwave oven for average duty use. The exterior cabinet can be metal or heavy duty impact resistant plastic. The oven delivers instant energy for rapid heating, defrosting or prime cooking. The oven has touch pad controls, digital timer, power level selector and preprogrammed selectors for commonly cooked items. This oven is commonly found in staff lounges.
M0515 | Television, Plasma | 1 | VV | 42" diagonal screen, high definition (HDTV) multimedia flat panel plasma display television. The TV will have a 16:9 wide screen aspect ratio, a minimum of 1024 x 768 display resolution, NTSC tuner, built-in stereo speakers and surround sound.
R7250 | Refrigerator/Freezer, 20 Cubic Feet | 1 | VV | Refrigerator/freezer unit. This type unit includes a food saver system that helps keep food fresher. It also includes roll out wheels and is equipped for an optional automatic icemaker. This unit is of commercial or residential design and use.
6 - LR001 - Locker Room, Staff | 6 - LR001 - Locker Room, Staff | 6 - LR001 - Locker Room, Staff | 6 - LR001 - Locker Room, Staff | 6 - LR001 - Locker Room, Staff
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1030 | Locker, 2 Person, Over/Under | 4 | VV | Two person locker, double tier, 72Hx12Wx18D. This unit includes hooks for coats and hats. Door equipped with safety guard handles. Designed for storage of coats, hats, and other personal belongings. Other width and depths are available.
A1080 | Mirror, Posture, Wall Mounted | 1 | CC | Wall mounted posture mirror. Consists of a 1/4" plate glass in a sturdy corrosion resistant frame with water proof back. For educational and therapy programs.
7 - TLTU1 - Toilet, Staff | 7 - TLTU1 - Toilet, Staff | 7 - TLTU1 - Toilet, Staff | 7 - TLTU1 - Toilet, Staff | 7 - TLTU1 - Toilet, Staff
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1067 | Mirror, Float Glass, ADA Accessible | 1 | CC | A high quality 1/4" polished float glass mirror with a stainless steel frame. Frame holds mirror in a tilted position for accessibility and compliance with ADA requirements. Mirror has a galvanized steel back secured to frame with concealed screws with integral horizontal hanging brackets. Mirror shall be approximately 18" wide and 36" high. Other sizes are available.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5090 | Disposal, Sanitary Napkin, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, sanitary napkin disposal. Disposal features a flip-up cover, secured to the container by a heavy duty stainless steel piano-hinge. Disposal may be secured to wall or toilet partition. For general purpose use in female toilet stalls or rooms and uni-sex toilet rooms.
A5109 | Grab Bar, 1-1/4" Dia., SS, 2 Wall, W/C Accessible | 1 | CC | A 1-1/4" diameter, satin finish stainless steel, peened gripping surface, 2 wall toilet stall/ room, grab bar with concealed mounting flanges. Snap over flanges are provided to conceal mounting screws. A selection of mounting kits and concealed anchor devices are available from the manufacturers for different types of installations. Grab bar shall comply with barrier-free accessibility guidelines for structural strength. For typical water closet applications in toilet stalls and rooms where ADA (American's With Disabilities Act) requirements must be met.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5200 | Dispenser, Toilet Tissue, SS, 2-Roll, Surface Mntd | 1 | CC | A concealed surface mounted, double roll, satin finish stainless steel, toilet tissue dispenser. Unit accommodates two standard-core toilet tissue rolls through 5" in diameter. Spindles are chrome plated plastic with a heavy-duty internal spring and turn freely for non-controlled delivery. For general purpose use in restrooms.
F2010 | Basket, Wastepaper, Step-On | 1 | VV | "Step-on" wastepaper basket with inner liner and foot petal activated flip top.
P3000 | Lavatory, Vitreous China, Straight Back | 1 | CC | Wall mounted, vitreous china lavatory (approximate bowl size 7"x15"x10") with: straight-front apron, straight or contoured back; faucet holes on 4" centers; gooseneck spout; wrist blade handles; and grid strainer. It shall be suitable for use in clinics, offices, washrooms or patient care areas.
P9050 | Toilet, Wall Hung, Siphon Jet | 1 | CC | Siphon jet water closet/ toilet. This unit is wall hung with an elongated bowl, top spud flushometer, seat with open front and check hinge, and carrier. Used in restrooms throughout the health care facility.
4 - EDUCATION AREA | 4 - EDUCATION AREA | 4 - EDUCATION AREA | 4 - EDUCATION AREA | 4 - EDUCATION AREA
1 - SL002 - Team Room | 1 - SL002 - Team Room | 1 - SL002 - Team Room | 1 - SL002 - Team Room | 1 - SL002 - Team Room
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 4 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 2 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
F0115 | Bookcase, Open, 5 Shelf | 2 | VV | Freestanding open shelf bookcase, approximately 82" high X 37" wide X 18" deep with 5 (five) adjustable shelves. Unit can be separate or part of a system with available add-on shelving.
F0220 | Chair, Conference | 8 | VV | Conference chair designed to complement the executive furniture package selected. Foam rubber cushioned seats and backs covered with either woven fabric or vinyl. Base with 5 (five) swivel casters.
F0300 | Chair, Task, Swivel, With Arms | 1 | VV | Task chair, approximately 34" H X 26" W X 22" D with adjustable arms and a five caster adjustable swivel base. Seat and back are foam padded and upholstered in woven fabric or vinyl.
F0690 | Workstation, Computer, Enclosed, With Lock | 1 | VV | Computer operator workstation ,approximately 58" high X 36" wide X 25" deep. A fully enclosed workstation for a computer, monitor, printer and supplies. Cabinet has two lockable doors.
F0755 | Table, Conference, Wood | 1 | VV | Executive conference table. Dimensions are approximately 30" high, 48" wide with lengths varying from 74" to 96". These tables add traditional elegance to any conference room.
F2000 | Basket, Wastepaper, Round, Metal | 2 | VV | Round wastepaper basket, approximately 18" high X 16" diameter. This metal unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations.
F3055 | Whiteboard, With Sliding Panels. | 1 | VV | Standard installations consist of sliding panels and a fixed back panel with the choice of chalkboard, markerboard, bulletin board, or a combination of these choices.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
2 - CRA02 - Conference Room / Classroom | 2 - CRA02 - Conference Room / Classroom | 2 - CRA02 - Conference Room / Classroom | 2 - CRA02 - Conference Room / Classroom | 2 - CRA02 - Conference Room / Classroom
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 4 | VV | Telecommunication outlet location.
A1011 | Telephone, Desk, 1 Line | 1 | VV | Telephone, desk, 1 line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 2 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5212 | Bracket, Television, Wall-Mounted, Tilt/Angle | 2 | VV | A wall mounted, tilt/angled TV bracket for 37" to 80" TVs. Mount will be a universal and VESA compliant unit with a load capacity of up to 130 lbs.
A6046 | Artwork, Decorative, With Frame | 2 | VV | This JSN is to be used for determining and defining location of decorative artwork.
F0220 | Chair, Conference | 10 | VV | Conference chair designed to complement the executive furniture package selected. Foam rubber cushioned seats and backs covered with either woven fabric or vinyl. Base with 5 (five) swivel casters.
F0295 | Chair, Stacking | 8 | VV | Stacking chair, approximately 34" H X 21" W X 24" D. May be stacked up to 20 high depending upon the model selected. These chairs are intended primarily as overflow capacity for conference rooms.
F0600 | Credenza, Executive, Wood | 1 | VV | Executive credenza with two (2) box drawers, two (2) file drawers, a center closed storage area with adjustable shelf and floor glides.
F0690 | Workstation, Computer, Enclosed, With Lock | 1 | VV | Computer operator workstation ,approximately 58" high X 36" wide X 25" deep. A fully enclosed workstation for a computer, monitor, printer and supplies. Cabinet has two lockable doors.
F0755 | Table, Conference, Wood | 2 | VV | Executive conference table. Dimensions are approximately 30" high, 48" wide with lengths varying from 74" to 96". These tables add traditional elegance to any conference room.
F2005 | Basket, Wastepaper, Executive, Wood | 1 | VV | Executive wastepaper basket, approximately 15" high X 13" wide X 13" deep.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M0507 | Video Teleconferencing System | 1 | VV | Shall be a video conferencing unit consisting of a camera, microphone, video/audio compression components, a component cart and a 32 inch monitor. It shall provide live audio-visual conferencing capabilities to dispersed geographic sites.
M0512 | Television, HDTV, Large Screen, 60" | 2 | VV | A high definition (HDTV) multimedia, slim design, 60"W to 65"W color television. The TV will have a 16.9 wide screen aspect ratio with full HD 1080p resolution and HDMI connections. TV may be LED, Plasma or LCD. TV will include a stand.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M1875 | Board, Copy, Electronic Facsimile | 1 | VV | Electronic facsimile copy board for use in conference rooms and classrooms. Available in a variety of sizes. Unit scans writing surface and makes a paper copy of the board's contents. The user can make multiple copies of a single scanning. Single sided version, single copy version, and office size boards are options. May have a PC interface option. Database pricing reflects a mobile two-panel copy-board with a minimum 33" x 66" writing surface. Depth dimension refers to depth at the caster level of the supporting frame.